# ENERGIZED ELECTRICAL WORK PERMIT

PART I: TO BE COMPLETED BY THE REQUESTER:

Job Work Order Number:________________

- Description of circuit/equipment/job location:	HRC #2 Other    /

- Description of work to be done:
Diagnostic testing, including voltage testing

- Justification of why the circuit/equipment cannot be de-energized or the work deferred until the next scheduled outage:

___________________________		__________________________

Requester/Title					          Date

PART II: TO BE COMPLETED BY THE ELECTRICALLY QUALIFIED PERSONS DOING THE WORK:

- Detailed job description procedure to be used in performing the above described work:

- Description of the Safe Work Practices to be employed:

| Shock hazard: 0.48 kV | Shock Boundary: 1' - 0" | V-rated Gloves: Yes, Class 00 |
| --- | --- | --- |
| Flash Hazard: 7.9 cal/cm2 | Flash Boundary: 5' - 5" | V-rated Tools: Yes |
| HC Reduction: 0 | Required PPE: #2* | Work Distance: 1' - 6" |
| Arc rated (cal/cm2): clothing (long-sleeve shirt/pants or coveralls), face shield and head sock. Additional PPE: Hard hat (w/FR Liner), safety glasses, leather work shoes, ear canal inserts and dielectric gloves/leather protectors. |  |  |

- Means employed to restrict the access of unqualified persons from the work areas:

- Evidence of completion of a Job Briefing including discussion of any job-specific hazards:

See Attached Job Briefing Report

- Do you agree the above-described work can be done safely?

 Yes		 No (If no, return to requester)

__________________________________			___________________

Electrically Qualified Person(s)				                Date

__________________________________			___________________

Electrically Qualified Person(s)				                Date

PART III: APPROVAL(S) TO PERFORM THE WORK WHILE ELECTRICALLY ENERGIZED:

__________________________________		________________________________

Manufacturing Manager			    Maintenance/Engineering Manager

__________________________________		________________________________

Safety Manager				    Electrically Knowledgeable Person

__________________________________		________________________________

General Manager					            Date

Note: Once the work is complete, forward this form to the site Safety Department for review and retention.

### Job Briefing and Planning Checklist

#### Identify

	What are the hazards?				Potential for arc flash

	What voltage levels are involved?			Unusual work conditions

	What skills are required?				Is this a multiple-person job?

- “Foreign” voltage source present?

#### Ask

	Can the equipment be de-energized?		Is a “standby person” required?

- Are there possible backfeeds of the circuits to be worked on?

#### Check

	Job Plans					Safety procedures

	One lines and vendor prints			Vendor Information

	Status Board					Individuals familiar with facility?

- For up-to-date information on plant and vendor resources

#### Know

- What is the job?					EasyPower one-line has been printed, reviewed, and attached to
						energized work permit?

- Who is in charge?

- Who else needs to know?…..Communicate!

#### Think

	About the extra event…What if?		 	Use the right tools and equipment, including PPE

	Lock-Tag-Test-Try				Install barriers and barricades

	Test for voltage – FIRST				What else…?

- Install and remove grounds

#### Prepare for an emergency

	Standby person CPR trained			What is the exact work location?

	Telephone location?				How is the equipment shut off in an emergency?

	Fire alarm locations?				Where is the emergency equipment?

	Confined space rescue available if required? 		Is the required emergency equipment available?

	Emergency phone numbers?			Radio communications available?

	Extinguisher?